## .Material Reservation (2)
Item No. | Make | Model | Description | Qty
FOOD SERVICE EQUIPMENT
BASEMENT 1 LEVEL
FL.00 FLOWER ROOM AND STORE
FL.01 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom complete with | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator | 1
c | By Others ( Package 1) | By Others ( Package 1) | Remote Air Cooled Compressor | 1
FL.02 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelving | 4
FL.03 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
FL.04 | Custom | Custom | U' Shaped Support Bench with Double Sink Bowl | 1
FL.05 | Custom | Custom | Wall Cupboards | 2
FL.06 | Custom | Custom | Wall Cupboards | 2
FL.07 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 3
FL.08 | Sofinor | MZC10S | Knife Disinfection Cabinet | 1
FL.09 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
FL.10 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
LD.00 LOADING DOCK
LD.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
LD.02 | Elenco Fab | Custom | Heavy Duty Platform Trolleys | 4
LD.03 | Palletco | Pullre 25 | Manual Pallet Trucks | 2
LD.04 | By Others | By Others | Recessed Scissor Lifts (not a part of this package)- Layout Shown 2 qty only | 3
LD.05 | Haws | 7360BT | Automatic Eye Wash Station | 1
LD.06 | Sofinor | CNETC/1P+4550CNET04S | Wall Mounted Hose Reel | 1
LD.07 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 3
LD.08 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
RD.00 RECEIVING and DECANT
RD.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
RD.02 | Custom | Custom | Support Bench with Sink Bowl | 1
RD.03 | Custom | Custom | Runs of 2 Tier Wall Shelvings | 2
RD.04 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 1
RD.05 | Eagle | PLT 12M T7+RAMP | Floor Mounted Weighing Scale (As Per Layout 2 qty) | 2
a | Eagle | Ramp | Ramp (Checkered Deck) (As Per Layout 2 qty) | 2
RD.06 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
RD.07 | Elenco Fab | Custom | Heavy Duty Platform Trolleys (Spec Ref # RD.08) | 4
RD.08 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulley (Spec Ref # RD.09) | 1
RW.00 RAW WASH
RW.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
RW.02 | Custom | Custom | Support Bench with Double Sink Bowls | 1
RW.03 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
RW.04 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit (Not Shwon in the Spec) | 1
RW.05 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelvings (Spec Ref # RW.004) | 2
RW.06 | IMC | MF.15 | Floor Standing Peeler with Stand | 1
RW.07 | Custom | Custom | Support Bench with Sink Bowl | 1
RW.08 | Custom | Custom | Mobile Vegetable Sink Bowls | 3
RW.09 | Sofinor | MZC10S | Knife Disinfection Cabinet | 1
RW.10 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 2
RW.11 | Custom | Custom | Runs of 2 Tier Wall Mounted Storage Shelvings | 2
RW.12 | Electrolux (Dito) | LV301R (660034) | Automatic Vegetable Washer (Tilting) | 1
CS.00 CENTRAL FOOD AND BEVERAGE STORES
CS.01 | By Others ( Package 1) | By Others ( Package 1) | 5 Compartment Modular Coldroom/Freezer Room Suite Comprising: | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panels | 5
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Vegetable & Fruit Coldroom) | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Vegetable & Fruit Coldroom) | 1
d | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Meat Coldroom) | 1
e | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Meat Coldroom) | 1
f | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Poultry Coldroom) | 1
g | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Poultry Coldroom) | 1
h | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Seafood Coldroom) | 1
i | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Seafood Coldroom) | 1
j | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Fish Coldroom) | 1
k | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Fish Coldroom) | 1
CS.02 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelving | 54
CS.03 | Omitted | Omitted | Double Door Upright Refrigerators | 2
CS.04 | Metro | Super Erecta ProTop Rack | High-Density Storage Systems | 6
CS.05 | Metro | BOWTIE (HP 2260PD) | Dunnage Racks | 2
CS.06 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 8
CS.07 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units | 4
CS.08 | By Others ( Package 1) | By Others ( Package 1) | 3 Compartment Modular Coldroom Suite Comprising: | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panels | 3
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator (General Purpose Coldroom) | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (General Purpose Coldroom) | 1
d | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Beverage Coldroom 1) | 1
e | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor(Beverage Coldroom 1) | 1
f | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Beverage Coldroom 2) | 2
g | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor(Beverage Coldroom 2) | 2
CS.09 | By Others ( Package 1) | By Others ( Package 1) | 2 Compartment Modular Coldroom Suite Comprising: | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panels | 3
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Freezer Room 1) | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Freezer Room 1) | 1
d | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Freezer Room 2) | 1
e | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor(Freezer Room 2) | 1
CS.10 | Monika | Monika | Temperature Monitoring Hub | 1
CS.11 | Polartemp | IBM300 | Ice Block Freezer Units with Water Filtration | 1
CS.12 | Metro | IC125 | Ice Transportation Trolley | 1
CS.13 | Custom | Custom | Adjustable Height Ice Workbench | 1
CS.14 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom Comprising: | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor | 1
CS.15 | Custom | Custom | Support Bench with Sink Bowl | 1
CS.16 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 1
CS.30 | Hardtank | Hardtank - Production With RO Digital Water Filteration System | Cold Brew Production Unit and Osmosis Unit | 1
P.00 PREPARATION AREAS
Vegetable and Fruit Preparation
P.01 | Custom | Custom | Preparation Bench with Double Sink Bowl | 1
P.02 | Custom | Custom | Preparation Bench with Double Sink Bowl | 1
P.03 | Sofinor | MZC10S | Knife Disinfection Cabinets | 2
P.04 | Robot Coupe | R23+57069+57072 | Vertical Cutter Mixer with Stand | 1
P.05 | Custom | Custom | Runs of 2 Tier Adjustable Wall Shelves (As per the layout & Specification7 nos) | 7
P.06 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
P.07 | Thermomix | TM6 | Multifunctional Processors | 2
P.08 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 2
P.09 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 2
P.10 | Omitted | Omitted | Vacuum Packer | 1
P.11 | Robot Coupe | J80U | Multi-fruit Juicers (As per Spec 1 qty) | 2
P.12 | Custom | Custom | Support Bench | 1
P.13 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Stations (As per Spec 1 qty) | 2
Meat and Poultry Preparation
P.14 | Ginox (Ref) | UBC12‐RD | Upright Refrigerators | 2
P.15 | Custom | Custom | Preparation Bench with Double Sink Bowl | 1
P.16 | Custom | Custom | Preparation Bench with Double Sink Bowl | 1
P.17 | Thermomix | TM6 | Multifunctional Processors | 2
P.18 | La Minerva | DERBY 460+Stand | Vacuum Packer on mobile stand | 1
P.19 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 2
P.20 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 2
P.21 | Custom | Custom | Support Benches | 2
P.22 | Custom | Custom | Chopping Blocks | 2
P.23 | Custom | Custom | Support Bench | 1
P.24 | Sofinor | MZC10S | Knife Disinfection Cabinets | 2
P.25 | Sirman | SO 1550 F3 | Meat and Bone Saw | 1
P.26 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Stations | 2
P.27 | Omitted | Omitted | Meat Tenderizer | 1
P.28 | Sammic | PS-32 | Mincing Machine (As per the layout & Specification 2 nos) | 2
P.29 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit (As per the layout & Specification 2 nos) | 2
Fish and Seafood Preparation
P.30 | Custom | Custom | Fish Preparation Table | 1
P.31 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity (As per the layout & Specification 1 no) | 1
P.32 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
P.33 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
P.34 | KTS | KTS 200 | Fish Scaler (As per the layout & Specification 1 no) | 1
P.35 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerinator | 1
P.36 | Custom | Custom | Chopping Block | 1
P.37 | Sofinor | MZC10S | Knife Disinfection Cabinet | 1
P.38 | Custom | Custom | Preparation Table with Sink Bowl | 1
P.39 | Custom | Custom | Runs of 2 Tier Wall Shelving | 2
P.40 | Eagle | DM253-5 | Digital Bench Scale - 5kg (As per the layout & Specification 2 no) | 2
P.41 | Ginox (Ref) | UBC12‐RD (F) | Upright Fish Refrigerators | 2
P.42 | La Minerva | DERBY 460 | Vacuum Packer | 1
P.43 | Scotsman+Everpure | MW458AS OX +Insurice i2000 Twin System | Cube Ice Makers c/w Water Filtration Unit 230kg | 2
P.44 | Scotsman | SB948+CBT48EAMCD+KSC450 | Ice Storage Bin - 406 | 1
P.45 | Scotsman+Everpure | MF56AS OX+Insurice i2000 Twin System | 600kg -Ice Flaker c/w Water Filtration Unit | 1
P.46 | Scotsman | SB530+CBT30EFSD | 243kg - Ice Storage Bin | 1
P.47 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
P.48 | By Others ( Package 1) | By Others ( Package 1) | 2 Compartment Modular Coldroom Suite | 1
a | By Others ( Package 1) | By Others ( Package 1) | Dual Compartment Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Coldroom 1) | 1
c | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Coldroom 2) | 1
d | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Coldroom 1) | 1
e | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Coldroom 2) | 1
P.49 | Elenco Fab | Custom | 18 Tier GN Trolleys | 10
BP.00 BAKERY AND PASTRY
BP.01 | Custom | Custom | PreparationTable c/w Sink Bowl | 1
BP.02 | Custom | Custom | Runs of 2 Tier Adjustable Wall Shelves (As per the layout & 2 nos) | 2
BP.03 | Rubbermaid | FG360088 | Ingredient Bins | 6
BP.04 | Rubbermaid | 1883459 | Mobile Waste Bin - 50L Capacity | 5
BP.05 | Kolb | K31-0601AB4 | 60 litre Planetary Mixer | 1
BP.06 | Kolb | K31-0071AG9 | 5 Litre Bench Mixer | 1
BP.07 | Kolb | K32-0801AB4 | 80 Litre Spiral Mixer | 1
BP.08 | Salva | CL-1 | Water Meters | 2
BP.09 | Salva | EA-175 | Water Coolers | 2
BP.10 | Kolb | K43-6301AF8 | Floor Mounted Roller Sheeter | 1
BP.11 | By Others ( Package 1) | By Others ( Package 1) | 2 Compartment Modular Coldroom Suite | 1
a | By Others ( Package 1) | By Others ( Package 1) | Dual Compartment Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Coldroom) | 1
c | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Freezer Room) | 1
d | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Coldroom) | 1
e | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor (Freezer Room) | 1
BP.12 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelvings | 9
BP.13 | Elenco Fab | Custom | 18 Tier GN Trolleys | 3
BP.14 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Stations (As per layout 3 qty) | 3
BP.15 | Custom | Custom | Preparation Bench | 1
BP.16 | Omitted | Omitted | Gelato Machine | 1
BP.17 | Frulinox | Deleted | Blast Chiller/Shock Freezer -10 gn1/1 | 1
BP.18 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units (As per layout 3 qty) | 3
BP.19 | Sulo | 240 with Pedal | Refuse Bins -50Gal | 2
BP.20 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
BP.21 | Custom | Custom | Rack Shelf | 1
BP.22 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
BP.23 | Custom | Custom | Pot Sink c/w Pre-rinse Spray | 1
BP.23a | IMC | Pot Boy | Pot Boy (Cookware Scrubber) | 1
BP.23a | IMC | S64/103+U07/012 | Accessories for Pot Boy | 1
BP.24 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 6
BP.25 | Eagle | DM253-5 | Digital Bench Scale - 5kg | 2
BP.26 | Custom | Custom | Preparation Bench | 1
BP.27 | Custom | Custom | Pastry Racks | 4
BP.28 | Salva | DB-30 | Dough Divider | 1
BP.29 | Salva | Deleted | Double Compartment Retarder Prover | 1
BP.30 | Salva | Deleted | 5 Deck Compact Gas Deck Oven | 1
BP.31 | Salva | Deleted | Gas Rotary Rack Oven | 1
BP.32 | Electrolux (900XP) | Deleted | Support Bench (S/S Finish Only) (As per the layout 3nos) | 3
BP.33 | Electrolux (900XP) | Deleted | 12.5 Litre Electric Deep Fat Fryer (S/S Finish Only) | 1
BP.34 | Electrolux (900XP) | Deleted | 4 Burner Gas Ranges with Electric Ovens Under Oven (S/S Finish Only) - As per Specification Electric Oven | 1
BP.35 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
BP35a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
BP.36 | Custom | Custom | Services Distribution Unit with PotRack | 1
BP.37 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
BP.38 | Custom | Custom | PreparationTable c/w Sink Bowl | 1
BP.39 | Custom | Custom | Preparation Bench | 1
BP.40 | Thermomix | TM6 | Multifunctional Processors | 2
BP.41 | Kolb | K31-0401AB4 | 40 Qt Spiral MIxer | 1
BP.42 | Custom | Custom | PreparationTable c/w Sink Bowl | 1
BP.43 | Salva | TC-5 | Chocolate Tempering Unit | 1
BP.44 | Pacojet | Pacojet 2 | Sorbet Machine | 1
BP.45 | Ginox (Ref) | CB721‐3D‐3D | Undercounter 6 Drawer Refrigerators | 3
BP.46 | Custom | Custom | Preparation Bench c/w Sink Bowl | 1
BP.47 | Custom | Custom | Preparation Bench | 1
BP.48 | Omitted | Omitted | Condense Ventilation Canopy | 1
BP.49 | Sofinor | CNETC/1P+4550CNET04S | Wall Mounted Hose Reel | 1
BP.50 | Omitted | Omitted | Potwash Machine | 1
BP.51 | Rubbermaid | FG199300 | Mop/Broom Rack | 1
BP.52 | Custom | Custom | Cleaner's Sink | 1
BP.53 | Custom | Custom | Wall Shelf | 1
BP.54 | Custom | Custom | Wall Cupboards | 2
BP1.01 | Panimatic | Parisien | Mobile Parisien Table | 1
BP1.02 | Unox+Everpure | XEVC-0711-GPRM +XWVRC-0711-H + XUC001 +Kleensteam CT | 7 Grid Gas Combination Oven with Stand and Filter | 1
BP1.03 | Unox+Everpure | XEBC-06EU-GPRM+ XWARC-07EF-H+XUC001 +Kleensteam CT | 6 Grid Gas Convection Ovens with Stands | 2
BP1.04 | Stephan | UM24 | Universal Mixer | 1
BP1.05 | Firex | POLYVALENT DBRG110A_V1 | 110L Gas Pressure Bratt Pan | 1
BP1.06 | Custom | Custom | Floor drain with stainless steel gratings | 1
BP1.07 | Not in our scope of work |  | Reduced size Wall Mounted Ventilation Canopy | 1
BP1.07a | Not in our scope of work |  | Adjusted Exisiting Fire Suppression Sytem | 1
BP1.08 | Panimatic | M3CA1 | Upright Roll In Proofing Cabinets (600x800) | 2
BP1.09 | Mac Pan and Custom | MDSE& Custom | Dosing Machine mounted on low height mobile bench | 1
BP1.10 | Panimatic | 600X800 | 600 x 800 Grid Trolleys | 5
BP1.11 | Irinox | MF NEXT L | 70 Kg Reach in Blast Freezers Note Proposed : Buiilt compresor (Gas R290)- Remote Unit not available | 1
GM.00 GARDE MANGER
GM.01 | Custom | Custom | Preparation Table with Sink Bowl | 1
GM.02 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity (As per layout & Specification 3qty) | 3
GM.03 | Pacojet | Pacojet 2 | Sorbet Machine | 1
GM.04 | Ginox (Ref) | CB721‐3D‐3D | Undercounter 6 Drawer Refrigerator | 4
GM.05 | Ginox (Ref) | UBF12‐RD | Upright Freezer | 1
GM.06 | Thermomix | TM6 | Multifunctional Processors (As per layout & specification 1no) | 1
GM.07 | Elenco Fab | Custom | 18 Tier GN Trolleys | 3
GM.08 | Sirman | PALLADIO 350 VV AUTO | Bench Mounted Automatic Slicer | 1
GM.09 | Kolb | K31-0071AG9 | Bench Mounted Mixer | 1
GM.10 | Custom | Custom | Mobile Tables | 3
GM.11 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom comprising | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor | 1
GM.12 | Clifton | FL28D | Water Bath | 1
GM.13 | La Minerva | DERBY 460+Stand | Vacuum Packer on Mobile Table | 1
GM.14 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
GM.15 | Custom | Custom | Run of 2 tier Wall Shelving | 1
GM.16 | Custom | Custom | Preparation Bench | 1
GM.17 | Sofinor | MZC10S | Knife Disinfection Cabinet | 2
GM.18 | Custom | Custom | Wall Cupboards | 2
GM.19 | Custom | Custom | Preparation Table with Sink Bowl | 1
GM.20 | Custom | Custom | Wall Cupboards | 6
GM.21 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
GM.22 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelvings | 3
GM.23 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
GM.24 | Scotsman+Everpure | NW458AS OX +SB530+Insurice i2000 Twin System | 230kg -Cube Ice Makers c/w Water Filtration Unit , Bin 243kg | 1
HK.00 HOT KITCHEN
HK.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
HK.02 | Custom | Custom | Wall Cupboards | 2
HK.03 | Custom | Custom | Preparation Table with Sink Bowl | 1
HK.04 | Frulinox | Frulinox | Blast Chiller/Shock Freezer -20GN1/1 | 1
HK.05 | Clayoven | Custom | Charcoal Tandoor Ovens | 2
HK.06 | Rational+Everpure | I Combi Classic 201G +Kleen Steam CT | 20 GN1/1 Gas Combination Ovens | 2
HK.06A | Everpure | Kleensteam CT | Water Filters | 1
HK.07 | Rational+Everpure -DELETED | I Vario pro L +60.75.909+60.74.983(2)+60.71.643+60.74.663(2)+60.75.975+60.72.905+Kleen steam CT - DELETED | 100L Vario Cooking Center - Multifunctional (As per layout 3qty) - DELETED | 3
HK.07 | ELECTROLUX - THERMALINE | PUET17GCC0/S + THA045+THA060+MB34PXXT + BPFE169020 + CBOARDL16 + RC70TI16WA/S + LOWBP16ISL | GAS TILTING PRESSURE BRAISING PAN + STEAM, GUIDEDCOOK 5, 170L (H) FS,D900 | 2
HK.08 | Electrolux (900XP) | 391101 | 100L Gas Quick Boiling Kettle | 1
HK.09 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
HK.10 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
HK.11 | Custom | Custom | Services Distribution Unit with Potshelf | 1
HK.12 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy (Without Marvel System) | 1
a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
HK.13 | Electrolux (900XP) | 900 XP LINE | Modular Cookline Comprising | 1
HK.13 a | Electrolux (900XP) | 391158+391153+206350*(2)+391160+391154+206350+206350 | Spreader Benches (As per layout 3nos) | 3
HK.13 b | Electrolux (900XP) | 391006 | Gas Range with 4 Burner & Gas Oven 2/1GN | 2
HK.13 c | Electrolux (900XP) | 391054+391154+206350+206350 | Plancha - Gas | 1
HK.13 d | Clifton | FL28D | Water Bath | 1
HK.14 | Ginox (Ref) | UBD12‐RH | Upright Refrigerator/Freezer (300L 2 Half Doors GN 2/1) | 1
HK.15 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom comprising | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor | 1
HK.16 | Custom | Custom | Preparation Table with Sink Bowl | 1
HK.17 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 4
HK.18 | Elenco Fab | Custom | 18 Tier GN Trolleys | 8
HK.19 | Custom | Custom | Fire Suppression Storage Cabinet | 1
HK.20 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom/Freezer comprising: | 1
a | By Others ( Package 1) | By Others ( Package 1) | Control Panel | 1
b | By Others ( Package 1) | By Others ( Package 1) | Evaporator | 1
c | By Others ( Package 1) | By Others ( Package 1) | Air Cooled Compressor | 1
HK.21 | Custom | Custom | Charcoal Grill | 1
HK.22 | NU-VU | Smoke6 | Mobile Hot Smoking Oven | 1
HK.23 | Ginox (Ref) | CB721‐3D‐3D | Undercounter 6 Drawer Refrigerator | 1
HK.24 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
b | Custom | Custom | Stainless Steel Wall Panneling | 1
HK.25 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelvings | 8
HK.26 | Custom | Custom | Workbench with Double Overshelf with Lights | 1
HK.27 | Ginox (Ref) | CB731‐3D‐3D‐3D | Undercounter 9 Drawer Refrigerator | 1
HK.28 | Thermomix | TM6 | Multifunctional Processors | 2
HK.29 | Sofinor | MZC10S | Knife Disinfection Cabinets | 2
HK.30 | By Others ( Package 1) | By Others ( Package 1) | Condense Ventilation Canopy | 1
HK.31 | Hobart+Everpure | Ecomax702-11A+Basket+Claris XL | Potwash Machine | 1
HK.32 | Custom | Custom | Potwash Deposit Table c/w Pre Rinse Spray | 1
HK.33 | Custom | Custom | Pot Rack | 1
HK.34 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
HK.35 | Custom | Custom | Cleaner's Sink | 1
HK.36 | Rubbermaid | FG199300 | Mop/Broom Rack | 1
HK.37 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
HK.38 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units | 2
HK.39 | Custom | Custom | Wall Shelf | 1
SDP.00 STAFF DINING SUPPORT PANTRY
SDP.01 | Custom | Custom | Preparation Table with Sink Bowl | 1
SDP.02 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 1
SDP.03 | Kolb (Atoll Speed) | Atollspeed 400H (K02-4003T1S) | Microwave Oven | 1
SDP.04 | Custom | Custom | Wall Shelf | 1
SDP.05 | By Others | By Others | Hot Holding Cabinets | 2
SDP.06 | By Others | By Others | Cold Holding Cabinets | 2
SDP.07 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulley | 1
SDP.08 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
SDP.09 | Custom | Custom | Knee Operated Wash Hand Station | 1
SD.00 STAFF DINING ROOM
SD.01 | Custom | Custom | Multi Basin Wash Hand Station | 1
SD.02 | Custom | Custom | Tray and Grab and Go counter comprising: | 1
SD.02a | Custom | Custom | Stone Top and Wood Fascia Panels | 1
SD.02b | Custom | Custom | Tray Slide | 1
SD.02c | Blanco | CEB47/36 (590023) | Recessed Tray Lowerators | 2
SD.02d | Custom | Custom | Tiered Ambient Display | 1
SD.02e | Ginox (Ref) | DDS-1125 | Multi Tiered Refrigerated Display Units | 2
SD.02f | Ginox (Ref) | CB521‐HD‐HD | Undercounter Refrigerator | 1
SD.03 | Custom | Deleted | Hot Servery Counter comprising: | 1
SD.03a | Custom | Deleted | Stone Top and Wood Fascia Panels | 1
SD.03b | Custom | Deleted | Tray Slide | 1
SD.03c | Custom | Deleted | Recessed Section with Soup Tureen | 1
SD.03d | Blanco | Deleted | Bowl Lowerator | 1
SD.03e | Blanco | Deleted | Heated Plate Lowerators | 2
SD.03f | Counterline | Deleted | 4 Ceran Heated Plates and Overshelf | 2
SD.03g | Custom | Deleted | Hotcupboards | 2
SD.04 | Custom | Custom | Island Counter Comprising: | 1
SD.04a | Custom | Custom | Stone Top and Wood Fascia Panels | 1
SD.04b | Custom | Custom | Tray Slide | 1
SD.04c | Custom | Custom | Blown Air Salad Well with Sneeze Guard | 1
SD.04d | Blanco | TSE-1-ET 18-33 | Bowl Lowerators | 2
SD.05 | Custom | Custom | Island Counter Comprising: | 1
SD.05a | Custom | Custom | Stone Top and Wood Fascia Panels | 1
SD.05b | Custom | Custom | Tray Slide | 1
SD.05c | Custom | Custom | Double Sided Condiments and Cutlery Unit (As per layout 2nos) | 2
SD.06 | Waring | CTS1000K | Conveyor Toaster | 1
SD.07 | Marco+Everpure | FRIIA HCS Plus(1000867+2300268+1400195) | Hot/Cold/Sparkling Water Dispensers | 2
07a | Marco | Marco | Dispense Fonts and Drip Trays | 2
SD.08 | Custom | Custom | Rear Support Counter with Wash Hand Station | 1
SD.09 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulley | 1
SD.10 | Insect O Cutor | Aura | Wall Mounted Insect Control Unit | 1
SD.11 | Custom | Custom | Coffee Counters comprising: | 2
11a | Custom | Custom | Stone Top and Wood Fascia Panels (As per layout 2nos) | 2
11b | Custom | Custom | Tray Slide (As per layout 2nos) | 2
11c | Custom | Custom | Storage Cupbaord Under (As per layout 2nos) | 2
SD.12 | By Others | By Others | Fully Automatic Coffee Machines c/w Water Filter | 2
SD.13 | By Others | By Others | Set of Dining Room Furniture | 1
SD.15 | Custom | Custom | Hot Servery Counter with Stone top comprising: | 1
15a | Custom | Custom | Substructure with recesses, kitckplates and tray slide. | 1
15b | Counterline | MHCGH4-GO | 4 Ceran Heated Plates and Overshelf | 2
15c | Custom | Custom | Undercounter Hotcupboards | 2
SD.16 | Moffat | HP1 | Mobile Heated Plate Lowerators | 2
SD.17 | Halton | Mobile Chef | Mobile Ventilation Unit | 1
SD.18 | Induced Energy | CS3001TS | Induction Hobs (Table Top) | 2
SD.18a | Induced Energy | iStock | Stock Pot Trolley for inducition Hob | 2
WW.00 STAFF DINING WAREWASH
WW.01 | Custom | Custom | Dishwash Deposit /Inlet Table c/w Sink Bowl and Pre Rinse | 1
WW.02 | Custom | Custom | Cleans Outlet Table | 1
WW.03 | Rubbermaid | SLIM JIM 1971258+FG269288+1980602 | Bottle Bins | 2
WW.04 | Rubbermaid | 1883459 | Mobile Waste Bins | 6
WW.05 | Custom | Custom | Cutlery Soak Sinks (As per layout & Specification 1 no) | 1
WW.06 | Hobart+Everpure | Eco-H604S-12B+Claris XL | Hood Type Dishwasher | 1
WW.07 | By Others ( Package 1) | By Others ( Package 1) | Condense Ventilation Canopy | 1
WW.08 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulleys | 2
WW.09 | Metro | DH2020N | Rack Dollies | 4
WW.10 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
WW.11 | Rubbermaid | FG199300 | Mop/Broom Rack | 1
WW.12 | Custom | Custom | Run of 2 tier Wall Shelving | 1
WW.13 | Custom | Custom | Cleaner's Sink | 1
WW.14 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
WW.15 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
WW.16 | Metro | Super Erecta Pro | Run of 5 Tier Storage Shelvings | 2
WW.17 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
WW.18 | Custom | Custom | Rack Overshelves | 2
WW.19 | Metro | PCD11A | Crockery Carts | 2
WW.20 | Custom | Custom | Self Deposit and Sorting Overshelf | 1
GROUND FLOOR LEVEL
BQ.00 BANQUET KITCHEN AND SUPPORT
BQ.01 | Custom | Custom | Worktop c/w Lowered Handwash Station | 1
BQ.01a | Sofinor | LMDESS1 | Paper Towel Dispenser | 1
BQ.02 | Custom | Custom | 2 Tier Adjustable Wall Shelf | 1
BQ.03 | Moduline | HHT281E | Low Temperature Hot Holding Cabinets | 2
BQ.04 | Custom | Custom | Mobile Set-up Tables (Cold) | 4
a | Custom | Custom | Island Gantries c/w Task Light | 4
BQ.05 | Custom | Custom | Mobile Set-up Tables (Hot) | 5
a | Custom | Custom | Hot Cupboards with Sliding Door | 5
b | Spare Number | Spare Number | Spare Number
c | Custom | Custom | Island Gantries c/w Heat Lamps | 5
BQ.06 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 6
BQ.07 | Electrolux (900XP) | 900 XP LINE | 1 Piece Top Comprising; (MODULAR UNIT - NOT 1 PIECE TOP) | 1
a | Electrolux (900XP) | 391006 | 4 Burner Gas Range with gas Ovens Under | 1
b | Electrolux (900XP) | 391158+391153+206350 | Open Storage | 2
BQ.08 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
a | Custom | Custom | Services Distribution Unit | 1
b | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
BQ.09 | Spare Number | Spare Number | Spare Number
BQ.10 | Rational+Everpure | I Combi Classic 201G +Kleen Steam CT | 20 GN1/1 Gas Combination Ovens | 2
BQ.11 | Custom | Custom | Ambient Base Unit c/w Tray Runners | 1
BQ.12 | Rational+Everpure | I Vario pro 2-S+60.31.319+60.74.666+60.74.663(2)+60.74.986+60.75.330+60.75.359(2)+60.71.643 | 2x25L Vario Cooking Center - Multifunctional | 2
BQ.13 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
BQ.14 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom Comprising: | 1
a | By Others ( Package 1) | By Others ( Package 1) | Modular Panel Sytem with 2 Single Door | 1
b | By Others ( Package 1) | By Others ( Package 1) | Dual Compartment Control Panel | 1
c | By Others ( Package 1) | By Others ( Package 1) | Evaporator (Coldroom 01) | 1
d | By Others ( Package 1) | By Others ( Package 1) | Evaporator(Coldroom 02) | 1
e | By Others ( Package 1) | By Others ( Package 1) | Air-Cooled Compressor (Coldroom 01) | 1
f | By Others ( Package 1) | By Others ( Package 1) | Air- Cooled Compressor(Coldroom 02) | 1
BQ.15 | Elenco Fab | Custom | 18 Tier GN Trolleys | 6
BQ.16 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelvings | 4
BQ.17 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units | 4
BQ.18 | Metro | DH2020N | Rack Dollies | 3
BQ.19 | Meiko+Everpure | Upster K-S 20(R-L)+Riversoft 8 | Single Tank Rack Conveyor Dishwasher (220 Racks/h) Without Dryer | 1
BQ.20 | Custom | Custom | Outlet Table | 1
BQ.21 | Custom | Custom | Dishwash Deposit / Inlet Table c/w Pre- rinse Spray | 1
a | Custom | Custom | Roll-over Rack Shelf | 1
BQ.22 | Ginox | U-1-GD | Single Door Upright Bottle Coolers | 2
BQ.23 | By Others ( Package 1) | By Others ( Package 1) | Floor Channels | 2
BQ.24 | Rubbermaid | 1883459 | Mobile Waste Bins | 5
BQ.25 | Rubbermaid | SLIM JIM 1971258+FG269288+1980602 | Bottle Bins | 3
BQ.26 | Custom | Custom | Cutlery Soak Sink | 1
BQ.27 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
BQ.28 | Sofinor | CNETC/1P+4550CNET04S | Wall Mounted Hose Reel | 1
BQ.29 | Custom | Custom | Cleaner's Sink | 1
BQ.30 | Rubbermaid | FG199300 | Mop/Broom Rack | 1
BQ.31 | IMC | 726 (F60/221) | Food Waste Disposer | 1
BQ.32 | Custom | Custom | Rack Shelf | 1
BQ.33 | Custom | Custom | Wall Cupboards | 3
BQ.34 | Custom | Custom | Beverage Dispense Counter | 1
a | Custom | Custom | Lowered Handwash Station | 1
b | Custom | Custom | Lowered Blender Stations | 2
c | Custom | Custom | Insulated Ice Well | 1
d | Custom | Custom | Speedrail | 1
e | Custom | Custom | Underslung Sink Unit | 1
f | Custom | Custom | Stainless Steel Understructure and Storage/Drawers | 1
g | Custom | Custom | Storage Overshelf | 1
BQ.35 | Waring | MX1500XTXSEK | Blenders with Silencer | 2
BQ.36 | Custom | Custom | Rear Beverage Counter | 1
BQ.37 | Ginox | BC-2-GD | Undercounter Beverage Refrigerators-330ml-117 Bottles | 2
BQ.38 | Custom | Custom | Wine Racks | 3
BQ.39 | Ginox | U-2-GD | 2 Door Upright Bottle Coolers | 2
BQ.40 | Scotsman+Everpure | NW308AS OX +Insurice i2000 Twin System | Ice Machines- Medium (160kg/24 hours) | 2
BQ.41 | Scotsman | SB322 (2nos) | Ice Storage Bin - 46 | 1
BQ.42 | Custom | Custom | Worktop c/w Sink Unit | 1
BQ.43 | Animo + Everpure | CB5W (1005397)+1006095+Claris M | Wall Mounted Bulk Brewers (30 litre/hr) | 2
BQ.44 | Animo | CN5E (1005364) | Insulated Beverage Containers (20 litres) | 4
BQ.45 | Animo | JR (60002) + 63001 | Mobile Hot Beverage Serving Trolleys | 4
BQ.46 | Metro | PCD11A | Poker Chip Dish Dolley | 1
BQ.47 | Custom | Custom | Movable Table - Dishwash Deposit | 1
BQ.48 | By Others ( Package 1) | By Others ( Package 1) | Condense Ventilation Canopy | 1
LEVEL 02
TB.00 TERRACE BAR
TB.01 | By Others ( Package 4) | By Others ( Package 4) | Upright Beverage Refrigerator | 1
TB.02 | By Others ( Package 4) | By Others ( Package 4) | Wash Up Sink Unit | 1
TB.03 | By Others ( Package 4) | By Others ( Package 4) | Open Wall Cupboard | 1
TB.04 | By Others ( Package 4) | By Others ( Package 4) | Mobile Waste Bins - 50L Capacity | 3
TB.05 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 2
TB.06 | By Others ( Package 4) | By Others ( Package 4) | Undercounter Glasswasher 30 baskets/hour | 1
TB.07 | By Others ( Package 4) | By Others ( Package 4) | Wall Mounted Insect Control Unit | 1
TB.08 | By Others ( Package 4) | By Others ( Package 4) | Underslung Wash Hand Basin with Electronic Tap | 1
TB.09 | By Others ( Package 4) | By Others ( Package 4) | Rear Display Cabinet | 1
TB.10 | By Others ( Package 4) | By Others ( Package 4) | Undercounter Beverage Refrigerators-330ml-130 Bottles | 2
TB.11 | By Others ( Package 4) | By Others ( Package 4) | Nugget Ice Machine with Filter (320kg) | 1
TB.12 | By Others ( Package 4) | By Others ( Package 4) | Front Bar and Overcounter | 1
TB.13 | By Others ( Package 4) | By Others ( Package 4) | Blender with Silencers | 2
TB.14 | By Others ( Package 4) | By Others ( Package 4) | Bench Mounted Glass Frosters (As per layout and specification 1 no) | 1
TB.15 | By Others ( Package 4) | By Others ( Package 4) | Undercounter Bottle Cooler | 1
TB.16 | By Others ( Package 4) | By Others ( Package 4) | Front Working Counter | 1
TB.17 | By Others ( Package 4) | By Others ( Package 4) | POS System | 1
SBP.00 SECRET BAR PANTRY
SBP.01 | Ginox | U-1-GD | Upright Beverage Refrigerator | 1
SBP.02 | Scotsman+Everpure | ECM106AS OX+Insurice i2000 Single System | Undercounter Ice Machine (50 kg/24 hours) + Filter | 1
SBP.03 | Custom | Custom | Sink Unit | 1
SBP.04 | Custom | Custom | Wall Mounted Storage Cupboards | 2
SBP.05 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 1
SBP.06 | Hobart+Everpure | Eco-G404S-10B+Claris L | Undercounter Glasswasher 30 baskets/hour | 1
SBP.07 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
SBP.08 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulley | 1
SBP.09 | Moduline | HSH051E + ATR001 | Mobile Heated Cabinet | 1
SBP.10 | By Others | By Others | POS System | 1
LL.00 LOBBY SUPPORT PANTRY
LL.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Stations | 2
LL.02 | Ginox | U-1-GD | Upright Beverage Refrigerators | 3
LL.03 | Scotsman+Everpure | MFNS56AS+Insurice i2000 Twin System | 570Kg -Cube Ice Makers c/w Water Filtration Unit | 1
03a | Scotsman | SB530+CBT30EFSD | Ice Storage Bin 243Kg | 1
LL.04 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
LL.05 | Custom | Custom | Beverage Counter | 1
LL.06 | Waring | WDM240E+CAC20 | Single Spindle Drinks Mixer | 1
LL.07 | Waring | MX1500XTXSEK | Blender with Silencer | 1
LL.08 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 7
LL.09 | Robot Coupe | J80U | Bench Mounted Juicer | 1
LL.10 | By Others | By Others | 2 Group Semi-Automatic Coffee Machine with Filter | 1
LL.11 | Micromatic | 25" Americano (MDD23) | Nitro Cold Brew Dispenser With Filter | 1
LL.12 | Animo | M22 (10597) | Arabic Coffee Hotplate | 1
LL.13 | Marco+Everpure | UC10 - Ecosmart+Font | Undercounter Water Boiler c/w Water Filter | 1
LL.14 | Custom | Custom | L Shaped Run of Wall Cupboards | 1
LL.15 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units | 2
LL.16 | By Others ( Package 1) | By Others ( Package 1) | Floor Gullies | 3
LL.17 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelving (As per the layout 4 nos) | 4
LL.18 | Metro | PCD11A | Poker Chip Trolleys | 2
LL.19 | Metro | DH2020N | Rack Dollies | 3
LL.20 | Custom | Custom | Deposit /Inlet Table C/W Pre-Rinse Sink Unit & Twist Handle Waste Valve | 1
LL.21 | Hobart+Everpure | Eco-H604S-12B+Claris XL | Hood Type Dishwasher | 1
LL.22 | By Others ( Package 1) | By Others ( Package 1) | Condense Canopy | 1
LL.23 | Custom | Custom | Outlet Table | 1
LL.24 | Custom | Custom | Wall Mounted Rack Shelf | 1
LL.25 | Custom | Custom | Sorting/Polishing Table | 1
LL.26 | Custom | Custom | Wall Mounted Storage Shelving | 1
LL.27 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
LL.28 | Gamko | KFK/1+KFKHC/MUCS | Refrigerated Waste Cabinet | 1
LL.29 | Ginox (Ref) | UBD12‐RH | Upright Refrigerator/Freezer | 1
LL.30 | Custom | Custom | L Shaped Sink Unit wih Dipper Well | 1
LL.31 | Waring | WW200K | Waffle Iron | 1
LL.32 | Custom | Custom | Condiments Rail | 1
LL.33 | Ginox (Ref) | CF | Undercounter 3 Drawer Refrigerator | 1
LL.34 | Custom | Custom | Open Wall Cupboard | 1
LL.35 | Ginox (Ref) | DI | Drop In Ice Cream freezer | 1
LL.36 | Custom | Custom | Central Pass and Preparation Counter | 1
LL.37 | Custom | Custom | Open Wall Cupboard | 1
LL.38 | By Others | By Others | Order Printers | 2
LL.39 | Hatco | DL800 | Run of Adjustable Heat Lamps (As per the layout 4 nos) | 4
LL.40 | Spring | 58 9-35 35.01 | Bench Mounted Induction Hob | 1
LL.41 | Ginox (Ref) | CB721-3D-3D(PS) | Built In Refrigerated Preparation Units | 2
LL.42 | Electrolux (Panini) | 603885 HSG3RPRSE3 | Sandwich Grill- High speed | 1
LL.43 | Waring | WPO750 | Electric Deck Oven | 1
LL.44 | Rational+Everpure | I Combi Classic XS Mod. 6 ⅔ E+Kleen Steam CT | 6 x 2/3 GN Electric Combination Oven with Softener | 1
LL.45 | Sofinor | MZC10S | Knife Disinfection Cabinet | 1
LL.46 | Custom | Custom | Services Distribution Unit with Potshelf and panels | 1
LL.47 | Electrolux (XP) | 283014+283035 | Electric Salamander Grill | 1
LL.48 | Electrolux (700XP) | 700 XP LINE | Modular Cooking suite comprising: | 1
48a | Electrolux (700XP) | 371116+371112+206350 | Joining/Infill Table | 1
48b | Electrolux (700XP) | 371002 | 4 Gas Burner with Gas Oven Range (As per the specification gas oven) | 1
48c | Electrolux (700XP) | 371323+371112+206350 | Ribbed Griddle - Gas (As per the specification gas oven) | 1
48d | Electrolux (700XP) | 371340+371113+206350+206350 | Plancha - Electric | 1
48e | Electrolux (700XP) | 371109+206350 | Aqua Cooker - Electric | 1
48f | Electrolux (700XP) | 371116+371112+206350 | Joining/Infill Table | 1
48g | Electrolux (700XP) | 371081+921692 | Twin Pan Electric Deep Fat Fryer (2x5lt) | 1
48h | Electrolux (700XP) | 371116+371112+206350 | Joining/Infill Table | 1
LL.49 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
LEVEL 04
RS.00 ROOM SERVICE
RS.01 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
RS.02 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 2
RS.03 | Custom | Custom | Wash Up Inlet Table with Sink Bowl and Pre Rinse | 1
RS.04 | Hobart+Everpure | PROFI AMXS-10B+VAPOSTOP+Claris L | Hood Type Dishwasher with Heat Condenser | 1
RS.05 | Custom | Custom | Wash Up Outlet Table | 1
RS.06 | Custom | Custom | Wall Mounted Rack Shelf | 1
RS.07 | Metro | Super Erecta Pro | Runs of 5 Tier Mobile Storage Shelvings | 2
RS.08 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit (As per layout 2nos) | 2
RS.09 | Custom | Custom | Beverage Counter with Sink Bowl and Ice Well | 1
RS.10 | Ginox | U-1-GD (SF) | Upright Beverage Refrigerator | 1
RS.11 | Marco+Everpure | UC10 - Ecosmart+Font | Undercounter Water Boiler c/w Water Filter | 1
RS.12 | Omitted | Omitted | Fully Automatic Coffee Machine with Filter | 1
RS.13 | Animo | M22 (10597) | Arabic Coffee Hotplate | 1
RS.14 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 1
RS.15 | Waring | IC20K | Ice Crusher | 1
RS.16 | Waring | MX1500XTXSEK | Blender with Silencer | 1
RS.17 | Scotsman+Everpure | ECM206AS OX+Insurice i2000 Twin System | Undercounter Ice Machine (130 kg/24 hours) | 1
RS.18 | Robot Coupe | J80U | Bench Mounted Juicer | 1
RS.19 | Ginox (Ref) | UBD12‐RH | Upright Refrigerator/Freezer | 1
RS.20 | Custom | Custom | Preparation Counter with Sink Bowl | 1
RS.21 | Custom | Custom | Wall Shelves | 1
RS.22 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 1
RS.23 | Ginox (Ref) | CB721‐3D‐3D | Undercounter 6 Drawer Refrigerator | 1
RS.24 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulleys | 4
RS.25 | Ginox (Ref) | I6S | Rerefrigerated Prep Counter (Quoted As Per Layout) | 1
RS.26 | Ginox (Ref) | CB721‐3D‐3D | Undercounter 6 Drawer Refrigerator | 1
RS.27 | By Others ( Package 1) | By Others ( Package 1) | Ventilation Canopy | 1
RS.27a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
RS.27b | Custom | Custom | Services Distribution Unit with Potshelf | 1
RS.27c | By Others ( Package 1) | By Others ( Package 1) | Demand Conrol for Item # RS.27 | 1
RS.28 | Electrolux (700XP) | 700 XP LINE | Modular Cookline Comprising: (Not Mobile) | 1
a | Electrolux (700XP) | 371115+371210 | Joining Table | 1
b | Electrolux (700XP) | 371078 | Twin Pan Electric Deep Fat Fryer 2X7 LT (as per the specification Electric version) | 1
c | Electrolux (700XP) | 371340+371113+206350+206350 | Plancha - Electric (as per the specification Electric version) | 1
d | Electrolux (700XP) | 371002 | Gas Range with 4 Burner & Gas Oven 2/1GN | 1
e | Electrolux (700XP) | 371116+371112+206350 | Joining Table | 1
f | Electrolux (700XP) | 371109+206350 | Aqua Cooker - Electric (as per the specificaiton Electrric Version) | 1
g | Electrolux (XP) | 283014+283035 | Salamander Grill | 1
h | Electrolux (700XP) | 371118+371113+206350+206350 | Joining Table – Ambient Cupboard Under | 1
RS.29 | Rational+Everpure | I Combi Classic XS Mod. 6 ⅔ E+Kleen Steam CT | Junior Combination Oven with Water Filter | 1
RS.30 | Custom | Custom | Hot and Cold Pass Counter comprising: | 1
a | Custom | Custom | 2 Tier Overshelf with Heat Lamps and Lights | 1
RS.30b | Ginox (Ref) | CB721‐3D‐3D | Built In 6 drawer undercounter Refrigerator | 1
c | Custom | Custom | Pass Through Hot cupboard | 1
d | Custom | Custom | Storage Area | 1
e | Custom | Custom | Wash Hand Station | 1
RS.31 | Kolb (Atoll Speed) | Atollspeed 400H (K02-4003T1S) | Accelerator Oven | 1
RS.32 | Custom | Custom | Full Height Storage Cabinet | 1
ADK.00 ALL DAY DNING KITCHEN
ADK.01 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminators | 2
ADK.02 | Custom | Custom | Dishwash Deposit Table | 1
a | Custom | Custom | Roll-over Rack Shelf | 1
ADK.03 | Custom | Custom | Inlet Tables c/w Sink Unit and Pre-Rinse Spray | 2
ADK.04 | Custom | Custom | Outlet Table | 1
ADK.05 | Custom | Custom | Wall Mounted Rack Sorting Shelf | 1
ADK.06 | Hobart+Everpure | Eco-H604S-12B+Claris XL | Hood Type Dishwasher | 1
ADK.07 | By Others ( Package 1) | By Others ( Package 1) | Floor Channels (As per layout & Specification 3qty) | 3
ADK.08 | Rubbermaid | SLIM JIM 1971258+FG269288+1980602 | Bottle Bin | 1
ADK.09 | By Others ( Package 1) | By Others ( Package 1) | Wall Mounted Condense Canopy - Warewash | 1
ADK.10 | Custom | Custom | Double Bowl Pot Sink | 1
ADK.11 | Rubbermaid | 1883459 | Mobile Waste Bins - 50L Capacity | 7
ADK.12 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units | 5
ADK.13 | Hobart+Everpure | Eco-G404S-10B+Claris L | Undercounter Glasswasher | 1
ADK.14 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulleys | 3
ADK.15 | Custom | Custom | Beverage Counter with Sink Bowl and Ice Well | 1
ADK.16 | Ginox | U-1-GD (SF) | Upright Beverage Refrigerators | 2
ADK.17 | Ginox | BC-2-GD | Undercounter Beverage Refrigerator | 1
ADK.18 | Animo | M22 (10597) | Arabic Coffee Hotplate | 1
ADK.19 | Robot Coupe | J80U | Bench Mounted Juicer | 1
ADK.20 | Waring | IC20K | Ice Crusher | 1
ADK.21 | Waring | MX1500XTXSEK | Blender with Silencer | 1
ADK.22 | Scotsman+Everpure | NW458AS OX +Insurice i2000 Twin System | Modular Ice Cube Machine 230kg | 1
a | Scotsman | SB530 | Ice Storage Bin 243kg | 1
b | Everpure | Everpure | Water Filters | 1
ADK.23 | Scotsman+Everpure | MFNS46AS OX+Insurice i2000 Twin System | Modular Nugget Ice Machine -320kg | 1
a | Scotsman | SB393+CBT30EFSD | Ice Storage Bin -181kg | 1
b | Everpure | Everpure | Water Filter | 1
ADK.24 | Custom | Custom | Wall Cupboard | 1
ADK.25 | Animo + Everpure | MWR 10n (50115) + Claris M | Milk Warmer | 1
ADK.26 | Metro | Super Erecta Pro | Run of 5 Tier Storage Shelving | 1
ADK.27 | By Others | By Others | 3 Group Semi Automatic Coffee Machine | 1
ADK.28 | Metro | DH2020N | Rack Dollies (As per layout 3nos) | 3
ADK.29 | Custom | Custom | Storage Unit | 1
ADK.30 | Custom | Custom | Preparation Benches with Stone Top and Sink Bowl (As per layout and Specificaiton 3nos) | 3
ADK.31 | Custom | Custom | Pass Counter with Stone Top | 1
ADK.32 | Hatco | DL800 | Run of Adjustable Heat Lamps (Asper layout and specficaton 6nos) | 6
ADK.33 | Custom | Custom | Wash Hand Station | 1
ADK.34 | Spare Number | Spare Number | Spare Number
ADK.35 | Spare Number | Spare Number | Spare Number
ADK.36 | Ginox (Ref) | CB721‐3D‐3D | Undercounter Refrigerators | 4
ADK.37 | Ginox (Ref) | CF | Undercounter Freezer | 1
ADK.38 | Custom | Custom | Open Wall Cupboards | 3
ADK.39 | Ginox (Ref) | CB731‐LD‐RD‐RD (PS) | Refrigerated Prep Counter | 1
ADK.40 | By Others | By Others | Runs of Display Shelving and Lighing | 2
ADK.41 | Sofinor | MZC10S | Knife Disinfection Cabinet | 1
ADK.42 | Eagle | DM253-5 | Digital Bench Scales | 2
ADK.43 | Kolb | K31-0071AG9 | Bench Mixer | 1
ADK.44 | Thermomix | TM6 | Food Processor | 1
ADK.45 | Sirman | ANNIVERSARIO 300 RED+STAND | Floor Standing Gravity Slicer | 1
ADK.46 | IMC | Pot Boy | Pot Scrubber | 1
ADK.46 | IMC | S64/103+U07/012 | Accessories for Pot Boy | 1
ADK.47 | By Others | By Others | POS Stations | 2
ADK.49 | By Others ( Package 1) | By Others ( Package 1) | Island Ventilation Canopy (Without Demand/Marvel System) | 1
ADK.49a | By Others ( Package 1) | By Others ( Package 1) | Fire Suppression System | 1
ADK.49b | By Others ( Package 1) | By Others ( Package 1) | Demand Conrol for Item # ADK.49 | 1
ADK.50 | Electrolux -THERMA | Ambient | Island Cook MODULAR comprising: | 1
ADK.50a | Custom | Custom | Potshelf and tap | 1
b | Electrolux -THERMA | MBLIBBHOPO+MB1RCAHOOO | Gas Solid Top with Cupboard Under | 1
c | Electrolux -THERMA | MBFHGBDDPO | Twin Pan Gas Deep Fat Fryers (As per layout 1 no) | 1
d | Electrolux -THERMA | MBHMBBDOPO+SCRASMTHPL+MB1PCADOOO | Plancha | 1
e | Electrolux -THERMA | MBQIGBHCPO | Gas Ranges with 4 Burner & Gas Oven 2/1GN | 2
f | Electrolux -THERMA | MBBABBDOAO +MB1PCADOOO | Water Bath | 1
g | Electrolux -THERMA | MBKDGBDDPO+4BASKPC20L | Pasta Cooker | 1
h | Electrolux -THERMA | 283032+283035 | Gas Salamander Grills | 2
i | Clay Oven | Bespoke 600x420 Robata CS | Robata Grill | 1
ADK.51 | Salva | LT3+H60X40 | Convection Oven | 1
ADK.52 | Mibrasa | HMB 75 | Charcoal Oven with Filter and Fire Break | 1
ADK.53 | Rational+Everpure | I Combi Classic 101G +60.76.169+Kleen Steam CT | 10 Grid GN1/1 Gas Combination Oven with Ultravent | 1
ADK.53a | Everpure | Everpure | Water Softener | 1
ADK.54 | Kolb (Atoll Speed) | Atollspeed 400H (K02-4003T1S) | Accelerator Oven | 1
ADK.55 | By Others ( Package 1) | By Others ( Package 1) | Pot Sink Condense Canopy | 1
CB.00 CAFÉ BAR
CB.01 | Micromatic | DELETED | Kombucha Dispenser | 1
CB.02 | Rollergrill | Double Panini | Twin Contact Grill | 1
CB.03 | By Others | By Others | Automatic Grinder | 1
CB.04 | By Others | By Others | 3 Group Traditional coffee Machine | 1
04a | By Others | By Others | Water Filter | 1
CB.05 | By Others | By Others | Nitro Cold Brew Dispenser With Filter | 1
CB.06 | Robot Coupe | J80U | Bench Mounted Juicer | 1
CB.07 | By Others | By Others | POS Payment System | 1
CB.08 | Scotsman+Everpure | EFC134AS OX+Insurice i2000 Twin System | Undercounter Ice Machine -143KG | 1
0a | Everpure | Everpure | Water Filter | 1
CB.09 | Ginox (Ref) | BC‐2‐GD+BC-1-GD | Undercounter Beverage Refrigerators | 2
CB.10 | Hobart+Everpure | Eco-G404S-10B+Claris L | Undercounter Glasswasher 32 baskets/hour | 1
CB.11 | By Others ( Package 1) | By Others ( Package 1) | Floor gulley | 1
CB.12 | Rubbermaid | 1883459 | Undercounter Waste Bin | 1
CB.13 | Waring | MX1500XTXSEK | Blender with Silencer | 1
CB.14 | Waring | WDM240E+CAC20 | Twin Spindle Drinks Mixer | 1
TYPICAL FLOOR PANTRY AREAS
TYP.01 | Hobart+Everpure | Eco-F504S-10B+Claris L | Undercounter Dish washer with Water softner | 7
TYPICAL BEDROOM FLOORS
TYP.02 | Scotsman+Everpure | ECM106AS OX+Insurice i2000 Single System | Undercounter Ice Machine (50 kg/24 hours) + Filter | 3
LAUNDRY EQUIPMENT PACKAGE
BASEMENT 1 LEVEL
UD.00 UNIFORM DISTRIBUTION AREA
UD.01 | WHITE | W340 WITH automatic keyboard control | Uniform Conveyors equipped with a 601 had switch and 600 automatic keyboard control | 2
UD.01A | Custom | Custom | High counter with White Silestone top. One Bank of 3 Drawers and remainder left open under. Dim:4000mm x 700mm x 900mm | 1
UD.02 | Omitted | Omitted | Automatic Uniform Collection Points | 2
UD.03 | Omitted | Omitted | Soiled Uniform Deposit Chutes | 2
UD.04 | Newmatic | Alumtrolley/Mini | Soiled Uniform Carts | 5
UD.05 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
UD.06 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulley | 1
UD.07 | Metro | Super Erecta Pro | Runs of 5 Tier Storage Shelving | 3
UD.08 | Newmatic | SGRT | Uniform Hanging Rail | 1
GV.00 GUEST VALET AND HOUSEKEEPING
GV.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Hand Wash Station | 1
GV.02 | Custom | Custom | Support Bench with Double Sink Bowls | 1
GV.03 | Custom | Custom | Wall Cupboard | 1
GV.04 | Eagle | PLT 150 S | Floor Mounted Weighing Scale -150KG | 1
GV.05 | Rubbermaid | 1883459 | Mobile Waste Bin | 1
GV.06 | Thermopatch | Y-151 | Bench Mounted Temporary Marking Machine | 1
GV.07 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulleys | 3
GV.08 | Ghidini | GB S 88 F | Spotting Table | 1
GV.09 | Electrolux- Laundry | WH6-20-LAC (Lagoon)+JETSAVE | 20kg Washer Extractor | 1
09a | Electrolux- Laundry | TD6-20LAC (Lagoon) | Linked 20kG Dryer | 1
GV.10 | Electrolux- Laundry | WH6-6LAC (Lagoon)+ED | 6kg Washer Extractor (As per layout 1 no) | 1
10a | Electrolux- Laundry | TD6-7LAC (Lagoon)+Staking Kit | 7.5kG Stacked Dryer (As per layout 1 no) | 1
GV.11 | Ghidini | P 88 U3 ABL | Utility Press | 1
GV.12 | Ghidini | TORNADO/A MAXI | Steam Ironing Table (As per layout and specification 2 nos) | 2
GV.13 | Ghidini | PM 98 U3L | Utility Press | 1
GV.14 | Ghidini | P 88 V1 AB | Fast Back Press | 1
GV.15 | Ghidini | MC 100/S+MAXI 16+ AMICO/25/(2HP)/1PH | Universal Finisher | 1
GV.16 | Forenta | 5CFL | Forming Post | 1
GV.17 | Ghidini | P 88 CP AB | Collar and Cuff Press | 1
GV.18 | Girbau | MBT Mini | Sprung Bottom Trolleys | 2
GV.19 | Newmatic | SGRT | Mobile Garment Rail | 1
GV.20 | Sturdy | 412-A | Convertible Linen Tolleys | 15
GV.21 | Renzacci | ML | Wall Mounted Automatic Bagger | 1
GV.22 | SINGER | 20U105C | Bench Mounted Sewing Machine | 1
GV.23 | By Others | By Others | Shopfitted Mending Station (Not Shown in the Spec) | 1
GV.24 | Metro | Super Erecta Pro | Runs of 5 Tier Static Storage Shelving (Spec Ref # GV.23) | 15
GV.25 | Metro | Super Erecta ProTop Rack | Run of High Density Shelving (Spec Ref # GV.24) | 1
GV.26 | Newmatic | CONTROLY/2 | Wire Linen Trolleys (Spec Ref # GV.25) | 2
GV.27 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units (Spec Ref # GV.26) | 2
BASEMENT 2 LEVEL
DL.00 DIRTY LINEN SORTING
DL.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
DL.02 | Haws | 7360BT | Eye Wash Station | 1
DL.03 | Custom | Custom | Support Bench With Sink Bowl | 1
DL.04 | Custom | Custom | Wall Cupboards | 1
DL.05 | Rubbermaid | 1883459 | Mobile Waste Bin | 1
DL.06 | Eagle | PLT 12M T7+RAMP | Floor Mounted Weighing Scale with Ramp | 1
DL.07 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
DL.08 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulley | 1
DL.09 | Sturdy | 412-A | Convertible Linen Trolleys | 18
WASTE MANAGEMENT
BASEMENT 1 LEVEL
R.00 CENTRAL REFUSE STORE
R.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
R.02 | Haws | 7360BT | Eye Wash Station | 1
R.03 | By Others | By Others | Large Refuse Holding Bins | 40
R.04 | Sofinor | CNETC/1P+4550CNET04S | Wall Mounted Hose Reels | 2
R.05 | By Others ( Package 1) | By Others ( Package 1) | Floor Gulleys | 4
R.06 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
R.07 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 4
R.08 | Custom | Custom | Support Bench with Double Sink Bowls | 1
R.09 | Custom | Custom | Wall Cupboards | 2
R.10 | Omitted | Omitted | Food Waste Macerator | 1
R.11 | Metro | BOWTIE (HP2248PD) | Dunnage Racks | 2
R.12 | By Others ( Package 1) | By Others ( Package 1) | Modular Coldroom comprising: | 1
12a | By Others ( Package 1) | By Others ( Package 1) | Control Panel | 1
12b | By Others ( Package 1) | By Others ( Package 1) | Compressor | 1
12c | By Others ( Package 1) | By Others ( Package 1) | Evaporators | 2
R.13 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
R.14 | Custom | Custom | Stainless Steel Wall clading System | 1
R01.00 REFUSE STORE 1
R01.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
R01.02 | By Others | By Others | Large Refuse Holding Bins | 5
R01.03 | By Others ( Package 1) | By Others ( Package 1) | Floor Channel | 1
R01.04 | Sofinor | CNETC/1P+4550CNET04S | Wall Mounted Hose Reel | 1
R01.05 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Unit | 1
R01.06 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminator | 1
R02.00 REFUSE STORE 2
R02.01 | Sofinor | LMASW+LMDSAVX+LMPBP | Knee Operated Wash Hand Station | 1
R02.02 | By Others | By Others | Large Refuse Holding Bins | 9
R02.03 | By Others ( Package 1) | By Others ( Package 1) | Floor Channels (As per layout 3qty) | 3
R02.04 | Sofinor | CNETC/1P+4550CNET04S | Wall Mounted Hose Reel | 1
R02.05 | Sofinor | TMX40+TMXG40 | Wall Mounted Insect Control Units | 2
R02.06 | Mechline -Hygenikx (MGK) | HGX-T-30-S | Air Degerminators | 2
OMITTED ITEMS
DL.04 | Elenco Fab - DELETED | Custom | Wall Cupboards | 1
R.10 | IMC - DELETED | Wastestation | Food Waste Macerator | 1
CS.03 | Ginox (Ref) - DELETED | UBC22‐LD‐RD | Double Door Upright Refrigerators | 2
CS.11 | Ginox-Ref - DELETED | Custom | Ice Block Freezer Units with Water Filtration | 1
P.10 | La Minerva - DELETED | SLAM 410 | Vacuum Packer | 1
P.27 | La Minerva - DELETED | TSC 300 | Meat Tenderizer | 1
BP.16 | Innova - DELETED | MOVIMIX 60 A+PRO | Gelato Machine | 1
BP.48 | By Others ( Package 1) | By Others ( Package 1) | Condense Ventilation Canopy | 1
BP.50 | Hobart - DELETED | Ecomax702-11A+Basket | Potwash Machine | 1
RS.12 | Egro+Everpure - DELETED | ONE TOP-MILK XP+Milk Fridge+Clairs M | Fully Automatic Coffee Machine with Filter | 1
ADD | Local | Custom | Piping for Blast Chillers Compressor (Frulinox) | 1
To
Mr Sulthan
Pls. place the order
17/10/2022 / 28.11.2022 / 14.12.2022 / 21.12.2022 /28.12.2022/05.01.2023 / 10.01.2023