## BOQ
No | Desription | Qty | Unit | Rate | Amount
A. Partition walls
Supply and installation of Two side Gypsum board partition walls
Basement 02
| Storage 01 (Residence) | 93.875 | m2 | 120 | 11265
| Storage 02 (Residence) | 65 | m2 | 120 | 7800
| Storage 03 (Hotel) | 116 | m2 | 120 | 13920
Level 05
| Storage 07 (Residence) | 16.7 | m2 | 120 | 2004
| Storage 08 (Hotel) | 27.58 | m2 | 120 | 3309.6
B. Floor Finishes
Supply and application of Mastertop 1205 Epoxy, resin and dust sealer flooring system
Basement 02
| Storage 01 (Residence) | 266.5 | m2 | 54 | 14391
| Storage 02 (Residence) | 75.2 | m2 | 54 | 4060.8
| Storage 03 (Hotel) | 127.2 | m2 | 54 | 6868.8
Basement 01
| Storage 04 (Hotel) | 43.5 | m2 | 54 | 2349
Ground Floor
| Storage 05 (Hotel) | 162.8 | m2 | 54 | 8791.2
Level 01
| Storage 06 (Hotel) | 51.4 | m2 | 54 | 2775.6
Level 05
| Storage 07 (Residence) | 15.3 | m2 | 54 | 826.2
| Storage 08 (Hotel) | 25.6 | m2 | 54 | 1382.4
Skirting
Basement 02
| Storage 01 (Residence) | 10.003 | m | 18 | 180.054
| Storage 02 (Residence) | 3.2 | m | 18 | 57.6
| Storage 03 (Hotel) | 3.722 | m | 18 | 66.996
Basement 01
| Storage 04 (Hotel) | 2.6 | m | 18 | 46.8
Ground Floor
| Storage 05 (Hotel) | 7.493 | m | 18 | 134.874
Level 01
| Storage 06 (Hotel) | 1.916 | m | 18 | 34.488
Level 05
| Storage 07 (Residence) | 0.618 | m | 18 | 11.124
| Storage 08 (Hotel) | 1.237 | m | 18 | 22.266
C. Wall Finishes
Supply and application of Low VOC acrylic emulsion paint applied to walls
Basement 02
| Storage 01 (Residence) | 399.1095 | m2 | 15 | 5986.6425
| Storage 02 (Residence) | 150.8 | m2 | 15 | 2262
| Storage 03 (Hotel) | 271.853 | m2 | 15 | 4077.795
Basement 01
| Storage 04 (Hotel) | 162.2 | m2 | 15 | 2433
Ground Floor
| Storage 05 (Hotel) | 574.073 | m2 | 15 | 8611.095
Level 01
| Storage 06 (Hotel) | 96.644 | m2 | 15 | 1449.66
Level 05
| Storage 07 (Residence) | 77.898 | m2 | 15 | 1168.47
| Storage 08 (Hotel) | 171.947 | m2 | 15 | 2579.205
D. Ceiling Finishes
Supply and installation of Full System Gypsum Tiles Ceiling (600X600mm)
Basement 02
| Storage 01 (Residence) | 266.5 | m2 | 90 | 23985
| Storage 02 (Residence) | 75.2 | m2 | 90 | 6768
| Storage 03 (Hotel) | 127.2 | m2 | 90 | 11448
Basement 01
| Storage 04 (Hotel) | 43.5 | m2 | 90 | 3915
Ground Floor
| Storage 05 (Hotel) | 162.8 | m2 | 90 | 14652
Level 01
| Storage 06 (Hotel) | 51.4 | m2 | 90 | 4626
Level 05
| Storage 07 (Residence) | 15.3 | m2 | 90 | 1377
| Storage 08 (Hotel) | 25.6 | m2 | 90 | 2304
E. Doors
Supply and installation of aluminum doors complete with frames, door stops, coatings, and ironmongries
Basement 02
Storage 01 (Residence)
| 1000x2500mm size | 1 | nos | 800 | 800
Storage 02 (Residence)
| 1000x2500mm size | 1 | nos | 800 | 800
Storage 03 (Hotel)
| 2000x2500mm size | 2 | nos | 1200 | 2400
Basement 01
Storage 04 (Hotel)
| 1000x2500mm size | 1 | nos | 800 | 800
Ground Floor
Storage 05 (Hotel)
| 2000x2500mm size | 1 | nos | 1200 | 1200
Level 01
Storage 06 (Hotel)
| 1000x2500mm size | 1 | nos | 800 | 800
Level 05
Storage 07 (Residence)
| 1000x2500mm size | 1 | nos | 800 | 800
Storage 08 (Hotel)
| 1000x2500mm size | 1 | nos | 800 | 800
F. Miscellaneous
| Allow sum for installation of electrical fittings including all wiring and fixtures in storage areas |  | item |  | 0
| Allow sum for installation of airconditioning system in storage areas |  | item |  | 0
| Allow sum for installation of fire protection and detection system in storage areas |  | item |  | 0
186340.6695
| Wiring |  |  |  | 0
Basement 02
| Storage 01 (Residence) | 120 | m
| Storage 02 (Residence) | 50 | m
| Storage 03 (Hotel) | 70 | m
Basement 01
| Storage 04 (Hotel) | 70 | m
Ground Floor
| Storage 05 (Hotel) | 75 | m
Level 01
| Storage 06 (Hotel) | 40 | m
Level 05
| Storage 07 (Residence) | 10 | m
| Storage 08 (Hotel) | 30 | m

## Sheet1
No | Description | Floor Area (m2) | Wall Area (m2) | Ceiling Area (m2) | Painting Area (m2) | Door (m2)
| Level B2 Residence side | 266.5 | 93.875 | 266.5 | 399.1095 | 2.5
| Level B2 Residence side | 75.2 | 65 | 75.2 | 150.8 | 2.5
| Level B2 Hotel side | 127.2 | 116 | 127.2 | 271.853 | 10
| Level B1 Hotel side | 43.5 | Wall already there | 43.5 | 162.2 | 2.5
| Level GF Hotel side | 162.8 | Wall already there | 162.8 | 574.073 | 5
| Level 01 Hotel side | 51.4 | Wall already there | 51.4 | 96.644 | 2.5
| Level 05 Residence side | 15.3 | 16.7 | 15.3 | 77.898 | 2.5
| Level 05 Hotel side | 25.6 | 27.58 | 25.6 | 171.947 | 2.5
Note on F6: Himal Kosala: Upto L02
Note on F8: Himal Kosala: Upto L06
Note on F9: Himal Kosala: Upto L07